## About
The COW Scoring Spreadsheet was designed to help communities evaluate their local development regulations to identify revisions that allow or require site developers to minimize impervious cover, conserve natural areas, and use runoff reduction practices to manage stormwater. For detailed instructions on using the COW Scoring Spreadsheet, see The Code and Ordinance Worksheet: A Tool for Evaluating the Development Rules in Your Community. This document is available for free download on https://owl.cwp.org and was published by the Center for Watershed Protection in 2017.
Copyright © 2017 Center for Watershed Protection, Inc.
Material may be quoted provided credit is given

## Codes Reviewed
Name of Code/Ordinance | Link to Code or Ordinance Online | Notes
Township of Lopatcong | https://ecode360.com/LO0488 | This link can be used to access al l of the chapters of code listed below.
Chapter 203: Streets and Sidewalks | https://ecode360.com/10312043
Chapter 243: Zoning and Land Use | https://ecode360.com/10312668
Chapter 219: Trees | https://ecode360.com/10312207
Chapter 37: Open Space Trust Fund | https://ecode360.com/10309918
Chapter 105: Driveways | https://ecode360.com/10310466
Chapter 199: Stormwater Management | https://ecode360.com/10311839
Chapter 183: Sewers | https://ecode360.com/10311426
Chapter 128: Grading | https://ecode360.com/15957135

## Contact Info
Local, State, and Federal Authorities Responsible for Development in Your Community
Development Responsibility |  | State/Federal | County | Municipal
Sets road standards | Agency:
Contact Name:
Phone Number:
Review/approves subdivision plans | Agency:
Contact Name:
Phone Number:
Establishes zoning ordinances | Agency:
Contact Name:
Phone Number:
Establishes subdivision ordinances | Agency:
Contact Name:
Phone Number:
Reviews/establishes stormwater management or drainage criteria | Agency:
Contact Name:
Phone Number:
Provides fire protection and fire protection code enforcement | Agency:
Contact Name:
Phone Number:
Oversees buffer ordinance | Agency:
Contact Name:
Phone Number:
Oversees wetland protection | Agency:
Contact Name:
Phone Number:
Establishes grading requirements or oversees erosion and sediment control program | Agency:
Contact Name:
Phone Number:
Reviews/approves septic systems | Agency:
Contact Name:
Phone Number:
Review/approves utility plans (e.g., water and sewer) | Agency:
Contact Name:
Phone Number:
Reviews/approves forest conservation/tree protection plans | Agency:
Contact Name:
Phone Number:
Administers health and safety codes | Agency:
Contact Name:
Phone Number:

## Highly Urban Form
INSTRUCTIONS: For all "Yes" answers, enter the associated number of points in the Yes column. BLUE questions are worth two points; ORANGE questions are worth 0.5 points. All other questions are worth 1 point. If the answer is "No", "N/A" or if the codes do not address the question, put an "X" in the appropriate column. Use the "Notes" column to record details of the code language and reference the relevant code and section.
|  | Question | Yes | No | N/A | Codes are Silent | Notes
Code Area
Street Width
| 1 | Is the minimum roadway width allowed for streets in neighborhoods with low volume roads (less than 400 average daily trips according to AASHTO, 2001) between 18-22 feet (where bicycle lanes are not present)?
| 2 | Are curb extensions that narrow the roadway (such as pinchpoints, gateways, and chicanes) permissible?
| 3 | Are permeable paving materials allowable on low-use streets and/or parking lanes?
Street Length
| 4 | Does the subdivision, Planned Unit Development, or Unified Development ordinance identify reducing street length as a goal of neighborhood street design?
Right-of-Way Width
| 5 | Is the recommended right-of-way width for a low-volume residential street less than 45 feet?
| 6 | Does the code allow utilities to be placed under the paved section of the right-of-way to limit clearing and allow compact development footprint?
| 7 | If street trees are required, is the planting area required to be at least 6 feet to provide sufficient rooting space to support large trees?
Cul-de-Sacs
| 8 | Do the street or subdivision standards allow street layouts that minimize the use of cul-de-sacs?
| 9 | Is the minimum radius for cul-de-sacs 48 feet or less?
| 10 | Can a landscaped island be created within the cul-de-sac?
Yes, and the cul-de-sac must be graded to the island with an overflow to the storm drain system, so that it can be used for stormwater treatment (2 pts.)
Yes, but curbing is required or the island must be raised, limiting its use for stormwater treatment (1 pt.)
| 11 | Are alternative turnarounds such as hammerheads and loop roads allowed?
Yes, alternative turnarounds are specifically mentioned in the ordinance with specific design/construction guidance provided by reference
Yes, alternative turnarounds are allowed, but no specific guidance provided on design
Vegetated Open Channels
| 12 | Are open section vegetated channels allowed where density, topography, soils, and slope permit?
| 13 | Are runoff reduction practices permissible within curb extensions or landscape strips?
Parking Ratios
| 14 | Do parking ratios reflect local parking demand?
Yes, they are based on a local study of parking demand, or are based on ITE or ULI values and adjusted for local conditions.
No, we simply use the ITE or ULI values, base them on a neighboring community’s standards, or we do not know where they came from.
| 15 | Are parking requirements set as maximums?
Parking Codes
| 16 | Are shared parking arrangements allowed?
Yes, shared parking is allowed by-right (2 pts.)
Yes, shared parking is allowed with special exception (1 pt.)
| 17 | Are parking ratios reduced if shared parking arrangements are in place?
| 18 | Is the parking ratio reduced when multi-modal transit (e.g., mass transit, bike share or car share programs) is provided?
| 19 | Can the number of parking spaces be reduced and additional parking be maintained as green space until needed for redevelopment projects?
| 20 | Are parking credits provided when nearby on-street parking is available?
Parking Lots
| 21 | Is the minimum stall width for a standard parking space 9 feet or less?
| 22 | Is the minimum stall length for a standard parking space 18 feet for less?
| 23 | Is a fixed proportion (eg., 15%) of the spaces at larger commercial parking lots required to have smaller dimensions for compact cars?
| 24 | Can pervious materials be used for parking areas, including spillover or special event parking? (2 pts.)
Structured Parking
| 25 | Are there any incentives for developers to provide parking within garages rather than surface parking lots?
Parking Lot Runoff
| 26 | Is a minimum percentage of a parking lot required to be landscaped? (2 pts.)
| 27 | Is the use of runoff reduction practices within landscaped areas, setbacks, or parking areas allowed? (give yourself 2 pts.)
| 28 | Are flush curbs and/or curb cuts and depressed landscaped areas allowed so that runoff can be directed into vegetated landscaped islands or runoff reduction practices?
| 29 | Are dimensions for landscaped areas sufficient to plant large trees?
Yes, a minimum width 6 feet or greater is specified
No, a minimum width less than 6 feet is specified
| 30 | Do vegetated stormwater management areas count toward required landscape minimums?
Open Space Design
| 31 | Do the ordinances require or allow open space subdivisions?
Yes, they are required in a designated open space zoning district (2 pts.)
Yes, open space designs are an allowable option (through an overlay zone) (1 pt.)
| 32 | Is land conservation or impervious cover reduction a major stated goal or objective of the open space design ordinance?
| 33 | Is a minimum percentage of the buildable portion of the site required to be set aside as open space?
Yes, at least 50% (2 pts.)
Yes, less than 50% (1 pt.)
| 34 | Is the open space determined through a stepwise design process where open space is identified first?
| 35 | Is open space design a by-right form of development versus a more burdensome conditional use or warrant?
| 36 | Are flexible site design criteria available for developers that utilize open space or cluster design options (e.g., setbacks/lot lines, road widths, lot sizes and shapes)?
| 37 | Are density bonuses and/or penalties used to encourage use of open space design?
Yes, density penalties are given for conventional development. (2 pts.)
Yes, density bonuses are provided for open space designs that exceed the minimum requirements for open space protection, up to an established maximum. (2 pts.)
Yes, density bonuses are provided for open space designs that exceed the minimum requirements for open space protection, with no cap on density bonuses. (1 pt.)
Setbacks and Frontages
| 38 | Are irregular lot shapes (e.g., pie-shaped, flag lots, zipper lots) allowed in the community?
| 39 | Does the code allow for variances to setback and frontage requirements?
Sidewalks
| 40 | Can minimum sidewalk widths for residential neighborhoods be reduced to 5 feet where safe and appropriate? (2 pts.)
| 41 | Can alternate pedestrian networks (e.g., paved trails through common areas, walkways and bike trails connecting cul-de-sacs to other streets) be substituted for sidewalks in the right-of-way?
| 42 | Are alternative sidewalk designs that provide sufficient soil rooting volume for street trees (e.g., pop-outs or bulb-outs, curving sidewalks, tree islands) allowed?
| 43 | Are alternative sidewalk construction materials that increase infiltration allowed?
Driveways
| 44 | Are minimum driveway widths 9 feet or less (one lane) or 18 feet or less (two lanes)?
| 45 | Can pervious materials (e.g., grass, gravel, permeable pavers, etc.) be used for residential driveways? (2 pts.)
| 46 | Can a “two track” design be used for residential driveways?
| 47 | Are shared driveways permitted in residential developments?
Open Space Management
| 48 | Does the open space design ordinance require identification of an entity (e.g., conservation organization, community association) who will be responsible for managing the open space? (2 pts.)
| 49 | Can open space be managed by a land trust or other qualified public or private land conservation organization (e.g., municipal parks department) through conservation easements or transfer of ownership?
| 50 | If open space cannot be managed by a third party, are there enforceable requirements to establish an association that can effectively manage the open space?
| 51 | Are secure and permanent funding arrangements required to be established for the long-term management and maintenance of open space?
| 52 | Are there standards for the open space requiring interconnections, prioritized lists of resources to be conserved, and access standards?
| 53 | Are allowable and unallowable uses for open space in residential developments defined?
| 54 | Are long-term management plans that conserve natural systems required for all open space areas?
| 55 | Is open space in a natural condition required to be protected in perpetuity by a binding conservation easement or similar legal instrument?
Rooftop Runoff
| 56 | Can downspouts be disconnected such that rooftop runoff flows to storage tanks, pervious areas, runoff reduction practices, etc.? (2 pts.)
| 57 | Do current grading or drainage requirements allow for temporary ponding of stormwater on front yards or rooftops? (2 pts.)
| 58 | Is temporary storage of rainwater in storage tanks (e.g., rain barrels or cisterns) permitted?
| 59 | Do the stormwater BMP design specifications for green roofs address structural concerns (e.g. how to determine design load of roof)?
| 60 | Do local plumbing codes allow harvested rainwater for exterior uses such as irrigation and non-potable interior uses such as toilet flushing?
Buffer Systems
| 61 | Do the development standards in the community require a vegetated buffer along waterways?
| 62 | Is the definition of waterway, or the regulated buffer, expansive enough to include (check all that apply):
Perennial streams (0.5 pts.)
Ephemeral and intermittent streams (0.5 pts.)
Lakes (0.5 pts.)
Estuaries and shorelines (0.5 pts.)
Wetlands (0.5 pts.)
Vernal Ponds (0.5 pts.)
| 63 | Is the minimum buffer width 50 feet or more?
Yes, width is 100 feet or greater (2 pts.)
Yes, width is between 50-99 feet (1 pt.)
No, width is < 50 feet
| 64 | Are buffer widths greater for sensitive resources (e.g., designated high quality streams) or in certain zones (e.g., drinking water protection)?
| 65 | Is expansion of the buffer to include adjacent wetlands, steep slopes, or the 100-year floodplain required?
Buffer Management
| 66 | Does the buffer ordinance specify that a minimum percentage of the buffer be maintained with native vegetation? (2 pts.)
| 67 | Does the buffer ordinance outline prohibited uses and permitted uses that have little impact to the vegetated buffer?
| 68 | Does the ordinance specify enforcement mechanisms?
| 69 | Does the buffer ordinance specify a preference for buffers to be located on a parcel of common ownership (e.g., a homeowners’ association)?
Clearing and Grading
| 70 | Is there any ordinance that requires the preservation of native soils, hydric soils, natural vegetation, or steep slopes at development sites? (2 pts.)
| 71 | Do regulations limit the total portion of the site that can be cleared?
| 72 | Are the limits of disturbance required to be shown on construction plans and physically marked at the site?
| 73 | Are reserve septic field areas allowed to be left undisturbed until needed?
Tree Conservation
| 74 | Is a natural resources inventory required to identify and map natural areas?
Yes, and significant natural areas such as high quality forest stands, wildlife habitat and travel corridors, productive cropland, and specimen trees must be identified (2 pts.)
Yes, but no requirements to assess resource quality. (1 pt.)
| 75 | Is there an ordinance that requires conservation of some portion of forests, specimen trees, or other native vegetation at development sites?
Yes, specific conservation thresholds are identified (2 pts.)
Answer Yes, no specific conservation thresholds identified (1 pt.)
| 76 | Do tree conservation requirements identify or reference methods for delineating and protecting the critical root zone of trees (sometimes referred to as “drip line”)?
| 77 | Do forest/tree conservation requirements specify planting new trees at sites where none exist?
| 78 | Are trees and native plant materials permissible for landscaping in yards, common areas, and other open spaces?
Yes, some portion of landscaping must be include trees and other native vegetation provided in recommended species list. (2 pts.)
Yes, trees and native vegetation are allowed per recommended species list (1 pt.)
No, landscaping ordinance requires turfgrass or includes vegetation height standards that preclude use of native plants
| 79 | Does the community have an urban forestry plan that supports/is referenced by the landscaping ordinance?
| 80 | Do landscaping requirements identify or reference specifications for soil amendments, planting methods, species selection, and maintenance?
Land Conservation Incentives
| 81 | Are there any incentives to developers (e.g., open space design, density bonuses, stormwater credits, or expedited design review) to conserve land above and beyond what is already required (e.g., steep slopes, wetlands)? (2 pts.)
| 82 | Is flexibility to meet land conservation requirements (e.g. density compensation, buffer or lot averaging, transferable development rights, off-site mitigation) offered to developers? (2 pts.)
Stormwater Outfalls
| 83 | Does the stormwater code contain special treatment criteria for discharges to impaired or sensitive waters, such as natural wetlands, lakes, trout streams, nutrient-sensitive estuaries, drinking water supplies, etc.? (2 pts.)
| 84 | Does a floodplain management ordinance exist that restricts or prohibits development within the 100-year floodplain? (2 pts.)
| 85 | Is there a local wetland protection ordinance?
Stormwater Codes
| 86 | Do codes define rainwater harvesting and establish acceptable uses for rainwater (e.g., irrigation and toilet flushing) and corresponding treatment requirements?
| 87 | Does the stormwater code include specific standards to reduce post-construction runoff volume (not just peak rate)?
Yes, runoff/volume reduction is required for most new development and redevelopment sites (2 pts.)
Yes, the standards apply to some sites or are included as an alternative compliance method (1 pt.)
| 88 | Does the code require or have incentives for consideration of runoff reduction concepts early in the site planning process?
Yes, there are provisions for a pre-application meeting or similar (2 pts.)
Yes, but the meetings are not mandatory for applicants (1 pt.)
| 89 | If the code includes post-construction runoff reduction standards, is there reference to clear, understandable, and local or regionally-based design guidance or stormwater manual?
Yes, the code references design guidance or a manual (2 pts.)
Yes, such a manual exists but it is not referenced in the code (1 pt.)
| 90 | Are drainage and stormwater treatment standards all in one place within the code and internally consistent?
Yes, codes are consolidated and consistent regarding applicability and methods
No, various code sections are conflicting or inconsistent
Installation and Maintenance of Practices
| 91 | Do erosion and sediment control standards specify protection of post-construction practice sites during active construction?
Yes, erosion control standards include these provisions (2 pts.)
Yes, the code is not explicit but it is addressed during plan review (1 pt.)
| 92 | Does the code mandate performance bonds and periodic inspections to ensure proper installation of stormwater practices based on the approved plans?
Yes, the code includes bonding requirements and inspections during stormwater practice installation (2 pts.)
Yes, the code includes bonding or inspections, but not both (1 pt.)
| 93 | Does the code include provisions for runoff reduction practice easements, inspector right-of-entry, maintenance agreements, and post-construction inspections?
Yes, all the provisions are included (2 pts.)
Yes, 3 out of the 4 are included (1 pt.)
Off-Site Compliance
| 94 | If off-site stormwater compliance is authorized, is some percentage of treatment required on-site?
Yes, applicants must provide on-site treatment to some level and provide documentation (2 pts.)
No, many sites have automatic access to off-site compliance
|  | Total Points Achieved | 0
|  | Total Possible Points | 87
|  | Final Score (%) | 0%

## Urban Form
INSTRUCTIONS: For all "Yes" answers, enter the associated number of points in the Yes column. BLUE questions are worth two points; ORANGE questions are worth 0.5 points. All other questions are worth 1 point. If the answer is "No", "N/A" or if the codes do not address the question, put an "X" in the appropriate column. Use the "Notes" column to record details of the code language and reference the relevant code and section.
|  | Question | Yes | No | N/A | Codes are Silent | Notes
Code Area
Street Width
| 1 | Is the minimum roadway width allowed for streets in neighborhoods with low volume roads (less than 400 average daily trips according to AASHTO, 2001) between 18-22 feet (where bicycle lanes are not present)?
| 2 | Are curb extensions that narrow the roadway (such as pinchpoints, gateways, and chicanes) permissible?
| 3 | Are permeable paving materials allowable on low-use streets and/or parking lanes?
Street Length
| 4 | Does the subdivision, Planned Unit Development, or Unified Development ordinance identify reducing street length as a goal of neighborhood street design?
Right-of-Way Width
| 5 | Is the recommended right-of-way width for a low-volume residential street less than 45 feet?
| 6 | Does the code allow utilities to be placed under the paved section of the right-of-way to limit clearing and allow compact development footprint?
| 7 | If street trees are required, is the planting area required to be at least 6 feet to provide sufficient rooting space to support large trees?
Cul-de-Sacs
| 8 | Do the street or subdivision standards allow street layouts that minimize the use of cul-de-sacs?
| 9 | Is the minimum radius for cul-de-sacs 48 feet or less?
| 10 | Can a landscaped island be created within the cul-de-sac?
Yes, and the cul-de-sac must be graded to the island with an overflow to the storm drain system, so that it can be used for stormwater treatment (2 pts.)
Yes, but curbing is required or the island must be raised, limiting its use for stormwater treatment (1 pt.)
| 11 | Are alternative turnarounds such as hammerheads and loop roads allowed?
Yes, alternative turnarounds are specifically mentioned in the ordinance with specific design/construction guidance provided by reference
Yes, alternative turnarounds are allowed, but no specific guidance provided on design
Vegetated Open Channels
| 12 | Are open section vegetated channels allowed where density, topography, soils, and slope permit?
| 13 | Are runoff reduction practices permissible within curb extensions or landscape strips?
Parking Ratios
| 14 | Do parking ratios reflect local parking demand?
Yes, they are based on a local study of parking demand, or are based on ITE or ULI values and adjusted for local conditions.
No, we simply use the ITE or ULI values, base them on a neighboring community’s standards, or we do not know where they came from.
| 15 | Are parking requirements set as maximums?
Parking Codes
| 16 | Are shared parking arrangements allowed?
Yes, shared parking is allowed by-right (2 pts.)
Yes, shared parking is allowed with special exception (1 pt.)
| 17 | Are parking ratios reduced if shared parking arrangements are in place?
| 18 | Is the parking ratio reduced when multi-modal transit (e.g., mass transit, bike share or car share programs) is provided?
| 19 | Can the number of parking spaces be reduced and additional parking be maintained as green space until needed for redevelopment projects?
| 20 | Are parking credits provided when nearby on-street parking is available?
Parking Lots
| 21 | Is the minimum stall width for a standard parking space 9 feet or less?
| 22 | Is the minimum stall length for a standard parking space 18 feet for less?
| 23 | Is a fixed proportion (eg., 15%) of the spaces at larger commercial parking lots required to have smaller dimensions for compact cars?
| 24 | Can pervious materials be used for parking areas, including spillover or special event parking? (2 pts.)
Structured Parking
| 25 | Are there any incentives for developers to provide parking within garages rather than surface parking lots?
Parking Lot Runoff
| 26 | Is a minimum percentage of a parking lot required to be landscaped? (2 pts.)
| 27 | Is the use of runoff reduction practices within landscaped areas, setbacks, or parking areas allowed? (give yourself 2 pts.)
| 28 | Are flush curbs and/or curb cuts and depressed landscaped areas allowed so that runoff can be directed into vegetated landscaped islands or runoff reduction practices?
| 29 | Are dimensions for landscaped areas sufficient to plant large trees?
Yes, a minimum width 6 feet or greater is specified
No, a minimum width less than 6 feet is specified
| 30 | Do vegetated stormwater management areas count toward required landscape minimums?
Open Space Design
| 31 | Do the ordinances require or allow open space subdivisions?
Yes, they are required in a designated open space zoning district (2 pts.)
Yes, open space designs are an allowable option (through an overlay zone) (1 pt.)
| 32 | Is land conservation or impervious cover reduction a major stated goal or objective of the open space design ordinance?
| 33 | Is a minimum percentage of the buildable portion of the site required to be set aside as open space?
Yes, at least 50% (2 pts.)
Yes, less than 50% (1 pt.)
| 34 | Is the open space determined through a stepwise design process where open space is identified first?
| 35 | Is open space design a by-right form of development versus a more burdensome conditional use or warrant?
| 36 | Are flexible site design criteria available for developers that utilize open space or cluster design options (e.g., setbacks/lot lines, road widths, lot sizes and shapes)?
| 37 | Are density bonuses and/or penalties used to encourage use of open space design?
Yes, density penalties are given for conventional development. (2 pts.)
Yes, density bonuses are provided for open space designs that exceed the minimum requirements for open space protection, up to an established maximum. (2 pts.)
Yes, density bonuses are provided for open space designs that exceed the minimum requirements for open space protection, with no cap on density bonuses. (1 pt.)
Setbacks and Frontages
| 38 | Are irregular lot shapes (e.g., pie-shaped, flag lots, zipper lots) allowed in the community?
| 39 | Does the code allow for variances to setback and frontage requirements?
Sidewalks
| 40 | Can minimum sidewalk widths for residential neighborhoods be reduced to 5 feet where safe and appropriate? (2 pts.)
| 41 | Can alternate pedestrian networks (e.g., paved trails through common areas, walkways and bike trails connecting cul-de-sacs to other streets) be substituted for sidewalks in the right-of-way?
| 42 | Are alternative sidewalk designs that provide sufficient soil rooting volume for street trees (e.g., pop-outs or bulb-outs, curving sidewalks, tree islands) allowed?
| 43 | Are alternative sidewalk construction materials that increase infiltration allowed?
Driveways
| 44 | Are minimum driveway widths 9 feet or less (one lane) or 18 feet or less (two lanes)?
| 45 | Can pervious materials (e.g., grass, gravel, permeable pavers, etc.) be used for residential driveways? (2 pts.)
| 46 | Can a “two track” design be used for residential driveways?
| 47 | Are shared driveways permitted in residential developments?
Open Space Management
| 48 | Does the open space design ordinance require identification of an entity (e.g., conservation organization, community association) who will be responsible for managing the open space? (2 pts.)
| 49 | Can open space be managed by a land trust or other qualified public or private land conservation organization (e.g., municipal parks department) through conservation easements or transfer of ownership?
| 50 | If open space cannot be managed by a third party, are there enforceable requirements to establish an association that can effectively manage the open space?
| 51 | Are secure and permanent funding arrangements required to be established for the long-term management and maintenance of open space?
| 52 | Are there standards for the open space requiring interconnections, prioritized lists of resources to be conserved, and access standards?
| 53 | Are allowable and unallowable uses for open space in residential developments defined?
| 54 | Are long-term management plans that conserve natural systems required for all open space areas?
| 55 | Is open space in a natural condition required to be protected in perpetuity by a binding conservation easement or similar legal instrument?
Rooftop Runoff
| 56 | Can downspouts be disconnected such that rooftop runoff flows to storage tanks, pervious areas, runoff reduction practices, etc.? (2 pts.)
| 57 | Do current grading or drainage requirements allow for temporary ponding of stormwater on front yards or rooftops? (2 pts.)
| 58 | Is temporary storage of rainwater in storage tanks (e.g., rain barrels or cisterns) permitted?
| 59 | Do the stormwater BMP design specifications for green roofs address structural concerns (e.g. how to determine design load of roof)?
| 60 | Do local plumbing codes allow harvested rainwater for exterior uses such as irrigation and non-potable interior uses such as toilet flushing?
Buffer Systems
| 61 | Do the development standards in the community require a vegetated buffer along waterways?
| 62 | Is the definition of waterway, or the regulated buffer, expansive enough to include (check all that apply):
Perennial streams (0.5 pts.)
Ephemeral and intermittent streams (0.5 pts.)
Lakes (0.5 pts.)
Estuaries and shorelines (0.5 pts.)
Wetlands (0.5 pts.)
Vernal Ponds (0.5 pts.)
| 63 | Is the minimum buffer width 50 feet or more?
Yes, width is 100 feet or greater (2 pts.)
Yes, width is between 50-99 feet (1 pt.)
No, width is < 50 feet
| 64 | Are buffer widths greater for sensitive resources (e.g., designated high quality streams) or in certain zones (e.g., drinking water protection)?
| 65 | Is expansion of the buffer to include adjacent wetlands, steep slopes, or the 100-year floodplain required?
Buffer Management
| 66 | Does the buffer ordinance specify that a minimum percentage of the buffer be maintained with native vegetation? (2 pts.)
| 67 | Does the buffer ordinance outline prohibited uses and permitted uses that have little impact to the vegetated buffer?
| 68 | Does the ordinance specify enforcement mechanisms?
| 69 | Does the buffer ordinance specify a preference for buffers to be located on a parcel of common ownership (e.g., a homeowners’ association)?
Clearing and Grading
| 70 | Is there any ordinance that requires the preservation of native soils, hydric soils, natural vegetation, or steep slopes at development sites? (2 pts.)
| 71 | Do regulations limit the total portion of the site that can be cleared?
| 72 | Are the limits of disturbance required to be shown on construction plans and physically marked at the site?
| 73 | Are reserve septic field areas allowed to be left undisturbed until needed?
Tree Conservation
| 74 | Is a natural resources inventory required to identify and map natural areas?
Yes, and significant natural areas such as high quality forest stands, wildlife habitat and travel corridors, productive cropland, and specimen trees must be identified (2 pts.)
Yes, but no requirements to assess resource quality. (1 pt.)
| 75 | Is there an ordinance that requires conservation of some portion of forests, specimen trees, or other native vegetation at development sites?
Yes, specific conservation thresholds are identified (2 pts.)
Answer Yes, no specific conservation thresholds identified (1 pt.)
| 76 | Do tree conservation requirements identify or reference methods for delineating and protecting the critical root zone of trees (sometimes referred to as “drip line”)?
| 77 | Do forest/tree conservation requirements specify planting new trees at sites where none exist?
| 78 | Are trees and native plant materials permissible for landscaping in yards, common areas, and other open spaces?
Yes, some portion of landscaping must be include trees and other native vegetation provided in recommended species list. (2 pts.)
Yes, trees and native vegetation are allowed per recommended species list (1 pt.)
No, landscaping ordinance requires turfgrass or includes vegetation height standards that preclude use of native plants
| 79 | Does the community have an urban forestry plan that supports/is referenced by the landscaping ordinance?
| 80 | Do landscaping requirements identify or reference specifications for soil amendments, planting methods, species selection, and maintenance?
Land Conservation Incentives
| 81 | Are there any incentives to developers (e.g., open space design, density bonuses, stormwater credits, or expedited design review) to conserve land above and beyond what is already required (e.g., steep slopes, wetlands)? (2 pts.)
| 82 | Is flexibility to meet land conservation requirements (e.g. density compensation, buffer or lot averaging, transferable development rights, off-site mitigation) offered to developers? (2 pts.)
Stormwater Outfalls
| 83 | Does the stormwater code contain special treatment criteria for discharges to impaired or sensitive waters, such as natural wetlands, lakes, trout streams, nutrient-sensitive estuaries, drinking water supplies, etc.? (2 pts.)
| 84 | Does a floodplain management ordinance exist that restricts or prohibits development within the 100-year floodplain? (2 pts.)
| 85 | Is there a local wetland protection ordinance?
Stormwater Codes
| 86 | Do codes define rainwater harvesting and establish acceptable uses for rainwater (e.g., irrigation and toilet flushing) and corresponding treatment requirements?
| 87 | Does the stormwater code include specific standards to reduce post-construction runoff volume (not just peak rate)?
Yes, runoff/volume reduction is required for most new development and redevelopment sites (2 pts.)
Yes, the standards apply to some sites or are included as an alternative compliance method (1 pt.)
| 88 | Does the code require or have incentives for consideration of runoff reduction concepts early in the site planning process?
Yes, there are provisions for a pre-application meeting or similar (2 pts.)
Yes, but the meetings are not mandatory for applicants (1 pt.)
| 89 | If the code includes post-construction runoff reduction standards, is there reference to clear, understandable, and local or regionally-based design guidance or stormwater manual?
Yes, the code references design guidance or a manual (2 pts.)
Yes, such a manual exists but it is not referenced in the code (1 pt.)
| 90 | Are drainage and stormwater treatment standards all in one place within the code and internally consistent?
Yes, codes are consolidated and consistent regarding applicability and methods
No, various code sections are conflicting or inconsistent
Installation and Maintenance of Practices
| 91 | Do erosion and sediment control standards specify protection of post-construction practice sites during active construction?
Yes, erosion control standards include these provisions (2 pts.)
Yes, the code is not explicit but it is addressed during plan review (1 pt.)
| 92 | Does the code mandate performance bonds and periodic inspections to ensure proper installation of stormwater practices based on the approved plans?
Yes, the code includes bonding requirements and inspections during stormwater practice installation (2 pts.)
Yes, the code includes bonding or inspections, but not both (1 pt.)
| 93 | Does the code include provisions for runoff reduction practice easements, inspector right-of-entry, maintenance agreements, and post-construction inspections?
Yes, all the provisions are included (2 pts.)
Yes, 3 out of the 4 are included (1 pt.)
Off-Site Compliance
| 94 | If off-site stormwater compliance is authorized, is some percentage of treatment required on-site?
Yes, applicants must provide on-site treatment to some level and provide documentation (2 pts.)
No, many sites have automatic access to off-site compliance
|  | Total Points Achieved | 0
|  | Total Possible Points | 128
|  | Final Score (%) | 0%

## Suburban Form
INSTRUCTIONS: For all "Yes" answers, enter the associated number of points in the Yes column. BLUE questions are worth two points; ORANGE questions are worth 0.5 points. All other questions are worth 1 point. If the answer is "No", "N/A" or if the codes do not address the question, put an "X" in the appropriate column. Use the "Notes" column to record details of the code language and reference the relevant code and section.
|  | Question | Yes | No | N/A | Codes are Silent | Notes
Lopatcong Township, Warren County
Street Width
| 1 | Is the minimum roadway width allowed for streets in neighborhoods with low volume roads (less than 400 average daily trips according to AASHTO, 2001) between 18-22 feet (where bicycle lanes are not present)? |  | X |  |  | Width of streets is required to be at least 30ft, Chapter 203-4. Minuimum width of local streets listed as 25ft, Chapter 243-45.
| 2 | Are curb extensions that narrow the roadway (such as pinchpoints, gateways, and chicanes) permissible? |  |  |  | X
| 3 | Are permeable paving materials allowable on low-use streets and/or parking lanes? |  |  |  | X
Street Length
| 4 | Does the subdivision, Planned Unit Development, or Unified Development ordinance identify reducing street length as a goal of neighborhood street design? |  |  |  | X | The only relevant laguage is that block dimensions are limited to 2,000ft, Chapter 243-45.
Right-of-Way Width
| 5 | Is the recommended right-of-way width for a low-volume residential street less than 45 feet? |  | X |  |  | The current minimum right-of-way width for "local" streets is 50ft, Chapter 243-45.
| 6 | Does the code allow utilities to be placed under the paved section of the right-of-way to limit clearing and allow compact development footprint? |  |  |  | X
| 7 | If street trees are required, is the planting area required to be at least 6 feet to provide sufficient rooting space to support large trees? |  | X |  |  | Planting trees is encourage, with appropriate shade trees being provided, Chapter 243-46. The chapter of code related to trees does not specifically mention planting area sizes, but does say that the minimum distance trees must be from curbs and sidewalks is 1.5ft, so the minimum square footage of planting area would be 2.25 sqft, Chapter 219-10.
Cul-de-Sacs
| 8 | Do the street or subdivision standards allow street layouts that minimize the use of cul-de-sacs? | 1 |  |  |  | There is wording in the code saying dead end streets cannot be longer than 1,500 feet or contin 25 lots, which may act as a deterrent to cul-de-sacs, Chapter 243-45.
| 9 | Is the minimum radius for cul-de-sacs 48 feet or less? | 1 |  |  |  | The minimum turnaround radius is 50ft, however the outside curb radius is minimum 40ft, Chapter 243-45.
| 10 | Can a landscaped island be created within the cul-de-sac? |  |  |  | X
Yes, and the cul-de-sac must be graded to the island with an overflow to the storm drain system, so that it can be used for stormwater treatment (2 pts.)
Yes, but curbing is required or the island must be raised, limiting its use for stormwater treatment (1 pt.)
| 11 | Are alternative turnarounds such as hammerheads and loop roads allowed?
Yes, alternative turnarounds are specifically mentioned in the ordinance with specific design/construction guidance provided by reference
|  | Yes, alternative turnarounds are allowed, but no specific guidance provided on design | 0.5 |  |  |  | Street name definitions dictate "court, crescent, or terrace" as loop streets, Chapter 243-45.
Vegetated Open Channels
| 12 | Are open section vegetated channels allowed where density, topography, soils, and slope permit? |  |  |  | X
| 13 | Are runoff reduction practices permissible within curb extensions or landscape strips? |  |  |  | X
Parking Ratios
| 14 | Do parking ratios reflect local parking demand? |  |  |  |  | This section seems to be catered towards a town employee answering the questions, information on parking ratios are not located in the town code related to parking regulations.
Yes, they are based on a local study of parking demand, or are based on ITE or ULI values and adjusted for local conditions.
No, we simply use the ITE or ULI values, base them on a neighboring community’s standards, or we do not know where they came from.
| 15 | Are parking requirements set as maximums? |  |  |  | X
Parking Codes
| 16 | Are shared parking arrangements allowed? |  |  |  | X
|  | Yes, shared parking is allowed by-right (2 pts.) |  |  |  | X
|  | Yes, shared parking is allowed with special exception (1 pt.) |  |  |  | X
| 17 | Are parking ratios reduced if shared parking arrangements are in place? |  |  |  | X
| 18 | Is the parking ratio reduced when multi-modal transit (e.g., mass transit, bike share or car share programs) is provided? |  |  |  | X
| 19 | Can the number of parking spaces be reduced and additional parking be maintained as green space until needed for redevelopment projects? |  |  |  | X
| 20 | Are parking credits provided when nearby on-street parking is available? |  |  |  | X
Parking Lots
| 21 | Is the minimum stall width for a standard parking space 9 feet or less? | 1 |  |  |  | Minimum is 9 ft for one passenger vehicles, minimum is 10 ft where shopping carts will be utilized, Chapter 243-49.
| 22 | Is the minimum stall length for a standard parking space 18 feet for less? | 1 |  |  |  | Minimum is 18 ft, Chapter 243-49.
| 23 | Is a fixed proportion (eg., 15%) of the spaces at larger commercial parking lots required to have smaller dimensions for compact cars? |  | X
| 24 | Can pervious materials be used for parking areas, including spillover or special event parking? (2 pts.) |  |  |  | X
Structured Parking
| 25 | Are there any incentives for developers to provide parking within garages rather than surface parking lots?
Parking Lot Runoff
| 26 | Is a minimum percentage of a parking lot required to be landscaped? (2 pts.) | 2 |  |  |  | "The minimum area of open space — in square feet — shall be calculated by multiplying the total number of parking spaces by 100. The required open space shall be distributed within the boundaries of the parking field in landscaped areas that separate parking bays; islands that separate parking stalls from access drives; and islands used to separate parking rows," Chapter 243-49.
| 27 | Is the use of runoff reduction practices within landscaped areas, setbacks, or parking areas allowed? (give yourself 2 pts.) |  |  |  | X
| 28 | Are flush curbs and/or curb cuts and depressed landscaped areas allowed so that runoff can be directed into vegetated landscaped islands or runoff reduction practices? | 1 |  |  |  | "In lieu of solid raised curbs along the perimeter of islands required herein, the developer may substitute with flush curbs and wheel stops or raised curbs with curb cuts or bollards to allow for stormwater runoff from the parking area to discharge into vegetated islands as sheet flow," Chapter 243-49.
| 29 | Are dimensions for landscaped areas sufficient to plant large trees? |  |  | X |  | Specific dimensions are not mentioned, so it is entirely possible if the property built the landscaped areas large enough.
Yes, a minimum width 6 feet or greater is specified
No, a minimum width less than 6 feet is specified
| 30 | Do vegetated stormwater management areas count toward required landscape minimums? |  |  |  | X | Code does not specify, but since vegetated islands were mentioned (and suggested) in Chapter 243-49 as a means of intercepting sheet flow, it is probable that this would be fine.
Open Space Design
| 31 | Do the ordinances require or allow open space subdivisions? |  |  |  | X | Open space is mentioned in the General design considerations section (47) of Chapter 243, however, a zoning district and overlay are not mentioned. There is no open space zone listed as a type of zone in Lopatcong.
Yes, they are required in a designated open space zoning district (2 pts.)
Yes, open space designs are an allowable option (through an overlay zone) (1 pt.)
| 32 | Is land conservation or impervious cover reduction a major stated goal or objective of the open space design ordinance? |  |  |  |  | Land conservation is mentioned in the language of Chapter 37 Open Space Trust Fund.
| 33 | Is a minimum percentage of the buildable portion of the site required to be set aside as open space? |  | X
Yes, at least 50% (2 pts.)
Yes, less than 50% (1 pt.)
| 34 | Is the open space determined through a stepwise design process where open space is identified first? |  |  | X |  | The process of determining open space is not mentioned in the code.
| 35 | Is open space design a by-right form of development versus a more burdensome conditional use or warrant? |  |  | X
| 36 | Are flexible site design criteria available for developers that utilize open space or cluster design options (e.g., setbacks/lot lines, road widths, lot sizes and shapes)? |  |  | X
| 37 | Are density bonuses and/or penalties used to encourage use of open space design? |  |  | X
Yes, density penalties are given for conventional development. (2 pts.)
Yes, density bonuses are provided for open space designs that exceed the minimum requirements for open space protection, up to an established maximum. (2 pts.)
Yes, density bonuses are provided for open space designs that exceed the minimum requirements for open space protection, with no cap on density bonuses. (1 pt.)
Setbacks and Frontages
| 38 | Are irregular lot shapes (e.g., pie-shaped, flag lots, zipper lots) allowed in the community? |  |  |  | X
| 39 | Does the code allow for variances to setback and frontage requirements? | 1 |  |  |  | Driveway frontage lengths can vary, either 150ft or less for driveways with one opening, or 151ft or more for driveways with 2 openings, Chapter 105-4.
Sidewalks
| 40 | Can minimum sidewalk widths for residential neighborhoods be reduced to 5 feet where safe and appropriate? (2 pts.) | 2 |  |  |  | Chapter 243: Zoning and land use already dictates minimum sidewalk width to be 4ft.
| 41 | Can alternate pedestrian networks (e.g., paved trails through common areas, walkways and bike trails connecting cul-de-sacs to other streets) be substituted for sidewalks in the right-of-way? |  |  |  | X | There is very little content relevant to sidewalks in the Lopatcong code.
| 42 | Are alternative sidewalk designs that provide sufficient soil rooting volume for street trees (e.g., pop-outs or bulb-outs, curving sidewalks, tree islands) allowed? |  |  |  | X
| 43 | Are alternative sidewalk construction materials that increase infiltration allowed? |  |  |  | X
Driveways
| 44 | Are minimum driveway widths 9 feet or less (one lane) or 18 feet or less (two lanes)? | 1 |  |  |  | In Chapter 243-45 residential single driveways have a minimum and maximum width of 8 and 20 ft, while double driveways of the same nature have a minimum and a maximum width of 16 and 20 ft. However, another chapter indicates that single-family homes need a minimum 12ft wide driveway which can reduce to 10ft once it leaves the right of way area. Multifamily, commercial, and industrial driveways cannot exceed 35ft wide, Chapter 105-7.
| 45 | Can pervious materials (e.g., grass, gravel, permeable pavers, etc.) be used for residential driveways? (2 pts.) |  | X
| 46 | Can a “two track” design be used for residential driveways? |  |  |  | X
| 47 | Are shared driveways permitted in residential developments? |  |  |  | X
Open Space Management
| 48 | Does the open space design ordinance require identification of an entity (e.g., conservation organization, community association) who will be responsible for managing the open space? (2 pts.) | 2 |  |  |  | Chapter 243, Artcile XVIII Open Space Organization contains language on the ownership and management of open spaces.
| 49 | Can open space be managed by a land trust or other qualified public or private land conservation organization (e.g., municipal parks department) through conservation easements or transfer of ownership? |  |  |  | X
| 50 | If open space cannot be managed by a third party, are there enforceable requirements to establish an association that can effectively manage the open space? | 1 |  |  |  | The same article in the code discusses how ownership of the open space can be transferred, if the current owner is found unable to manage it properly.
| 51 | Are secure and permanent funding arrangements required to be established for the long-term management and maintenance of open space? | 1 |  |  |  | An open space trust fund was established and is funded through an annual tax levy, as well as donations and bequests, Chapter 37-3.
| 52 | Are there standards for the open space requiring interconnections, prioritized lists of resources to be conserved, and access standards? |  | X
| 53 | Are allowable and unallowable uses for open space in residential developments defined? |  | X
| 54 | Are long-term management plans that conserve natural systems required for all open space areas? |  | X
| 55 | Is open space in a natural condition required to be protected in perpetuity by a binding conservation easement or similar legal instrument? |  | X
Rooftop Runoff
| 56 | Can downspouts be disconnected such that rooftop runoff flows to storage tanks, pervious areas, runoff reduction practices, etc.? (2 pts.) |  | X |  |  | It is believed to be no because of this wording "No person may discharge or allow to be discharged into the treatment works of the town or any participant any wastewater which causes pass through or interference or contributes to a violation of any parameter in the town's NJPDES permit or to a violation of a participant's Sewer Use Ordinance or which contains any of the following:" where roof runoff is included in the long list that follows, Chapter 183-20.
| 57 | Do current grading or drainage requirements allow for temporary ponding of stormwater on front yards or rooftops? (2 pts.) |  |  |  | X
| 58 | Is temporary storage of rainwater in storage tanks (e.g., rain barrels or cisterns) permitted? |  |  |  | X
| 59 | Do the stormwater BMP design specifications for green roofs address structural concerns (e.g. how to determine design load of roof)? |  |  |  | X
| 60 | Do local plumbing codes allow harvested rainwater for exterior uses such as irrigation and non-potable interior uses such as toilet flushing? |  |  |  | X
Buffer Systems
| 61 | Do the development standards in the community require a vegetated buffer along waterways? | 2 |  |  |  | Special water resource protection areas are described as necessary to established in certain areas, Chapter 199-4.
| 62 | Is the definition of waterway, or the regulated buffer, expansive enough to include (check all that apply):
|  | Perennial streams (0.5 pts.) | 0.5
|  | Ephemeral and intermittent streams (0.5 pts.) | 0.5
|  | Lakes (0.5 pts.) | X |  |  |  | Possibly, the description includes Category One waters designated by NJAC 7:9B, Chapter 199-4.
|  | Estuaries and shorelines (0.5 pts.) | X
|  | Wetlands (0.5 pts.) | X
|  | Vernal Ponds (0.5 pts.) | X
| 63 | Is the minimum buffer width 50 feet or more?
|  | Yes, width is 100 feet or greater (2 pts.) | 2 |  |  |  | The width is 300 ft on either side of the waterway, 199-4.
Yes, width is between 50-99 feet (1 pt.)
No, width is < 50 feet
| 64 | Are buffer widths greater for sensitive resources (e.g., designated high quality streams) or in certain zones (e.g., drinking water protection)? |  | X |  |  | It is mentioned that 150ft is the minimum buffer width, 199-4.
| 65 | Is expansion of the buffer to include adjacent wetlands, steep slopes, or the 100-year floodplain required? |  |  | X |  | This is not mentioned specifically.
Buffer Management
| 66 | Does the buffer ordinance specify that a minimum percentage of the buffer be maintained with native vegetation? (2 pts.) | 2 |  |  |  | The minimum is 80% of all plants used, this information was found in a section of code related to "buffer strips" which may differ from the buffer systems this worksheet is referencing. I am giving it the benefot of the doubt that they refer to the same thing, Chapter 243-62.
| 67 | Does the buffer ordinance outline prohibited uses and permitted uses that have little impact to the vegetated buffer? | 1 |  |  |  | Any encroachment or development in the buffer area needs to be reviewed and approved by the department (which department is unclear), Chapter 199-4.
| 68 | Does the ordinance specify enforcement mechanisms? |  | X
| 69 | Does the buffer ordinance specify a preference for buffers to be located on a parcel of common ownership (e.g., a homeowners’ association)? |  | X
Clearing and Grading
| 70 | Is there any ordinance that requires the preservation of native soils, hydric soils, natural vegetation, or steep slopes at development sites? (2 pts.) | 2 |  |  |  | Natural vegetation should be retained, and sediment should remain onsite, Chapter 128-2.
| 71 | Do regulations limit the total portion of the site that can be cleared? | 1 |  |  |  | No more than 20%, Chapter 243-48.
| 72 | Are the limits of disturbance required to be shown on construction plans and physically marked at the site? | 1
| 73 | Are reserve septic field areas allowed to be left undisturbed until needed? |  |  |  | X
Tree Conservation
| 74 | Is a natural resources inventory required to identify and map natural areas? |  | X
Yes, and significant natural areas such as high quality forest stands, wildlife habitat and travel corridors, productive cropland, and specimen trees must be identified (2 pts.)
Yes, but no requirements to assess resource quality. (1 pt.)
| 75 | Is there an ordinance that requires conservation of some portion of forests, specimen trees, or other native vegetation at development sites?
|  | Yes, specific conservation thresholds are identified (2 pts.) | 2 |  |  |  | Areas designated as Ridgeline Protection Areas have sections of code dedicated to discussing their protection, Chapter 243 sections 48.1 and 65.3.
Answer Yes, no specific conservation thresholds identified (1 pt.)
| 76 | Do tree conservation requirements identify or reference methods for delineating and protecting the critical root zone of trees (sometimes referred to as “drip line”)? | 1 |  |  |  | A section of code uses this language when talking about the steps needed to be taken before any trees are removed: "Prior to any site clearance, grading or disturbance for premises subject to the provisions of this subsection, the applicant shall delineate with snow fence, installed beyond the dripline of trees which are to be protected, all areas which are to remain undisturbed and shall individually protect, to the satisfaction of the Township Engineer, all trees or specimen trees which are to remain within the area of disturbance approved by the Board," Chapter 243-78.1.
| 77 | Do forest/tree conservation requirements specify planting new trees at sites where none exist? |  | X |  |  | Not where none exist, but there are regulations requiring replacement trees to be planted on a site where a certain number have been removed, for both regular trees and specimen trees (DPM 24 inches or greater), Chapter 243-78.1.
| 78 | Are trees and native plant materials permissible for landscaping in yards, common areas, and other open spaces? |  |  |  | X
Yes, some portion of landscaping must be include trees and other native vegetation provided in recommended species list. (2 pts.)
Yes, trees and native vegetation are allowed per recommended species list (1 pt.)
No, landscaping ordinance requires turfgrass or includes vegetation height standards that preclude use of native plants
| 79 | Does the community have an urban forestry plan that supports/is referenced by the landscaping ordinance? |  |  | X |  | No specific landscaping ordinance was found.
| 80 | Do landscaping requirements identify or reference specifications for soil amendments, planting methods, species selection, and maintenance? |  | X
Land Conservation Incentives
| 81 | Are there any incentives to developers (e.g., open space design, density bonuses, stormwater credits, or expedited design review) to conserve land above and beyond what is already required (e.g., steep slopes, wetlands)? (2 pts.) |  | X
| 82 | Is flexibility to meet land conservation requirements (e.g. density compensation, buffer or lot averaging, transferable development rights, off-site mitigation) offered to developers? (2 pts.) |  | X
Stormwater Outfalls
| 83 | Does the stormwater code contain special treatment criteria for discharges to impaired or sensitive waters, such as natural wetlands, lakes, trout streams, nutrient-sensitive estuaries, drinking water supplies, etc.? (2 pts.) |  | X
| 84 | Does a floodplain management ordinance exist that restricts or prohibits development within the 100-year floodplain? (2 pts.) |  | X
| 85 | Is there a local wetland protection ordinance? |  | X
Stormwater Codes
| 86 | Do codes define rainwater harvesting and establish acceptable uses for rainwater (e.g., irrigation and toilet flushing) and corresponding treatment requirements? |  | X
| 87 | Does the stormwater code include specific standards to reduce post-construction runoff volume (not just peak rate)?
Yes, runoff/volume reduction is required for most new development and redevelopment sites (2 pts.)
|  | Yes, the standards apply to some sites or are included as an alternative compliance method (1 pt.) | 1 |  |  |  | The standards apply only to new major development, according to the General Standards section of Chapter 199-3.
| 88 | Does the code require or have incentives for consideration of runoff reduction concepts early in the site planning process? |  | X
Yes, there are provisions for a pre-application meeting or similar (2 pts.)
Yes, but the meetings are not mandatory for applicants (1 pt.)
| 89 | If the code includes post-construction runoff reduction standards, is there reference to clear, understandable, and local or regionally-based design guidance or stormwater manual?
|  | Yes, the code references design guidance or a manual (2 pts.) | 2 |  |  |  | They list multiple resources for technical guidance including the NJ Stormwater BMP Manual and The Rutgers Cooperative Extension Service, Chapter 199-7.
Yes, such a manual exists but it is not referenced in the code (1 pt.)
| 90 | Are drainage and stormwater treatment standards all in one place within the code and internally consistent?
|  | Yes, codes are consolidated and consistent regarding applicability and methods | 1
No, various code sections are conflicting or inconsistent
Installation and Maintenance of Practices
| 91 | Do erosion and sediment control standards specify protection of post-construction practice sites during active construction?
|  | Yes, erosion control standards include these provisions (2 pts.) | 2 |  |  |  | This language may refer to these provisions "Temporary seeding, mulching or other suitable stabilization measures shall be used to protect exposed critical areas during construction and other land disturbances," Chapter 128-2. If not, then this same chapter mentions erosion and stormwater control in conjunction multiple times.
Yes, the code is not explicit but it is addressed during plan review (1 pt.)
| 92 | Does the code mandate performance bonds and periodic inspections to ensure proper installation of stormwater practices based on the approved plans?
Yes, the code includes bonding requirements and inspections during stormwater practice installation (2 pts.)
|  | Yes, the code includes bonding or inspections, but not both (1 pt.) | 1 |  |  |  | In Chapter 199, it stipulates that the design engineer must write up a maintenance plan that is to be followed by the party identified as responsible for maintenance. That party is required to keep a record of all inspections. Performance bonds are not mentioned in the text.
| 93 | Does the code include provisions for runoff reduction practice easements, inspector right-of-entry, maintenance agreements, and post-construction inspections? |  | X |  |  | Only maintenance agreements are mentioned in the form of following a "maintenance plan," Chapter 199-10.
Yes, all the provisions are included (2 pts.)
Yes, 3 out of the 4 are included (1 pt.)
Off-Site Compliance
| 94 | If off-site stormwater compliance is authorized, is some percentage of treatment required on-site? |  |  | X |  | Off-site stormwater compliance is not mentioned in this context, but it refers to discharging stormwater outside of special water resource protection areas, which in this code refers to a buffer between development and a waterway (See Buffer systems section above), Chapter 199-4.
Yes, applicants must provide on-site treatment to some level and provide documentation (2 pts.)
No, many sites have automatic access to off-site compliance
|  | Total Points Achieved | 37.5
|  | Total Possible Points | 126
|  | Final Score (%) | 29.76%
33
104
31.73%

## Rural Form
INSTRUCTIONS: For all "Yes" answers, enter the associated number of points in the Yes column. BLUE questions are worth two points; ORANGE questions are worth 0.5 points. All other questions are worth 1 point. If the answer is "No", "N/A" or if the codes do not address the question, put an "X" in the appropriate column. Use the "Notes" column to record details of the code language and reference the relevant code and section.
|  | Question | Yes | No | N/A | Codes are Silent | Notes
Code Area
Street Width
| 1 | Is the minimum roadway width allowed for streets in neighborhoods with low volume roads (less than 400 average daily trips according to AASHTO, 2001) between 18-22 feet (where bicycle lanes are not present)?
| 2 | Are curb extensions that narrow the roadway (such as pinchpoints, gateways, and chicanes) permissible?
| 3 | Are permeable paving materials allowable on low-use streets and/or parking lanes?
Street Length
| 4 | Does the subdivision, Planned Unit Development, or Unified Development ordinance identify reducing street length as a goal of neighborhood street design?
Right-of-Way Width
| 5 | Is the recommended right-of-way width for a low-volume residential street less than 45 feet?
| 6 | Does the code allow utilities to be placed under the paved section of the right-of-way to limit clearing and allow compact development footprint?
| 7 | If street trees are required, is the planting area required to be at least 6 feet to provide sufficient rooting space to support large trees?
Cul-de-Sacs
| 8 | Do the street or subdivision standards allow street layouts that minimize the use of cul-de-sacs?
| 9 | Is the minimum radius for cul-de-sacs 48 feet or less?
| 10 | Can a landscaped island be created within the cul-de-sac?
Yes, and the cul-de-sac must be graded to the island with an overflow to the storm drain system, so that it can be used for stormwater treatment (2 pts.)
Yes, but curbing is required or the island must be raised, limiting its use for stormwater treatment (1 pt.)
| 11 | Are alternative turnarounds such as hammerheads and loop roads allowed?
Yes, alternative turnarounds are specifically mentioned in the ordinance with specific design/construction guidance provided by reference
Yes, alternative turnarounds are allowed, but no specific guidance provided on design
Vegetated Open Channels
| 12 | Are open section vegetated channels allowed where density, topography, soils, and slope permit?
| 13 | Are runoff reduction practices permissible within curb extensions or landscape strips?
Parking Ratios
| 14 | Do parking ratios reflect local parking demand?
Yes, they are based on a local study of parking demand, or are based on ITE or ULI values and adjusted for local conditions.
No, we simply use the ITE or ULI values, base them on a neighboring community’s standards, or we do not know where they came from.
| 15 | Are parking requirements set as maximums?
Parking Codes
| 16 | Are shared parking arrangements allowed?
Yes, shared parking is allowed by-right (2 pts.)
Yes, shared parking is allowed with special exception (1 pt.)
| 17 | Are parking ratios reduced if shared parking arrangements are in place?
| 18 | Is the parking ratio reduced when multi-modal transit (e.g., mass transit, bike share or car share programs) is provided?
| 19 | Can the number of parking spaces be reduced and additional parking be maintained as green space until needed for redevelopment projects?
| 20 | Are parking credits provided when nearby on-street parking is available?
Parking Lots
| 21 | Is the minimum stall width for a standard parking space 9 feet or less?
| 22 | Is the minimum stall length for a standard parking space 18 feet for less?
| 23 | Is a fixed proportion (eg., 15%) of the spaces at larger commercial parking lots required to have smaller dimensions for compact cars?
| 24 | Can pervious materials be used for parking areas, including spillover or special event parking? (2 pts.)
Structured Parking
| 25 | Are there any incentives for developers to provide parking within garages rather than surface parking lots?
Parking Lot Runoff
| 26 | Is a minimum percentage of a parking lot required to be landscaped? (2 pts.)
| 27 | Is the use of runoff reduction practices within landscaped areas, setbacks, or parking areas allowed? (give yourself 2 pts.)
| 28 | Are flush curbs and/or curb cuts and depressed landscaped areas allowed so that runoff can be directed into vegetated landscaped islands or runoff reduction practices?
| 29 | Are dimensions for landscaped areas sufficient to plant large trees?
Yes, a minimum width 6 feet or greater is specified
No, a minimum width less than 6 feet is specified
| 30 | Do vegetated stormwater management areas count toward required landscape minimums?
Open Space Design
| 31 | Do the ordinances require or allow open space subdivisions?
Yes, they are required in a designated open space zoning district (2 pts.)
Yes, open space designs are an allowable option (through an overlay zone) (1 pt.)
| 32 | Is land conservation or impervious cover reduction a major stated goal or objective of the open space design ordinance?
| 33 | Is a minimum percentage of the buildable portion of the site required to be set aside as open space?
Yes, at least 50% (2 pts.)
Yes, less than 50% (1 pt.)
| 34 | Is the open space determined through a stepwise design process where open space is identified first?
| 35 | Is open space design a by-right form of development versus a more burdensome conditional use or warrant?
| 36 | Are flexible site design criteria available for developers that utilize open space or cluster design options (e.g., setbacks/lot lines, road widths, lot sizes and shapes)?
| 37 | Are density bonuses and/or penalties used to encourage use of open space design?
Yes, density penalties are given for conventional development. (2 pts.)
Yes, density bonuses are provided for open space designs that exceed the minimum requirements for open space protection, up to an established maximum. (2 pts.)
Yes, density bonuses are provided for open space designs that exceed the minimum requirements for open space protection, with no cap on density bonuses. (1 pt.)
Setbacks and Frontages
| 38 | Are irregular lot shapes (e.g., pie-shaped, flag lots, zipper lots) allowed in the community?
| 39 | Does the code allow for variances to setback and frontage requirements?
Sidewalks
| 40 | Can minimum sidewalk widths for residential neighborhoods be reduced to 5 feet where safe and appropriate? (2 pts.)
| 41 | Can alternate pedestrian networks (e.g., paved trails through common areas, walkways and bike trails connecting cul-de-sacs to other streets) be substituted for sidewalks in the right-of-way?
| 42 | Are alternative sidewalk designs that provide sufficient soil rooting volume for street trees (e.g., pop-outs or bulb-outs, curving sidewalks, tree islands) allowed?
| 43 | Are alternative sidewalk construction materials that increase infiltration allowed?
Driveways
| 44 | Are minimum driveway widths 9 feet or less (one lane) or 18 feet or less (two lanes)?
| 45 | Can pervious materials (e.g., grass, gravel, permeable pavers, etc.) be used for residential driveways? (2 pts.)
| 46 | Can a “two track” design be used for residential driveways?
| 47 | Are shared driveways permitted in residential developments?
Open Space Management
| 48 | Does the open space design ordinance require identification of an entity (e.g., conservation organization, community association) who will be responsible for managing the open space? (2 pts.)
| 49 | Can open space be managed by a land trust or other qualified public or private land conservation organization (e.g., municipal parks department) through conservation easements or transfer of ownership?
| 50 | If open space cannot be managed by a third party, are there enforceable requirements to establish an association that can effectively manage the open space?
| 51 | Are secure and permanent funding arrangements required to be established for the long-term management and maintenance of open space?
| 52 | Are there standards for the open space requiring interconnections, prioritized lists of resources to be conserved, and access standards?
| 53 | Are allowable and unallowable uses for open space in residential developments defined?
| 54 | Are long-term management plans that conserve natural systems required for all open space areas?
| 55 | Is open space in a natural condition required to be protected in perpetuity by a binding conservation easement or similar legal instrument?
Rooftop Runoff
| 56 | Can downspouts be disconnected such that rooftop runoff flows to storage tanks, pervious areas, runoff reduction practices, etc.? (2 pts.)
| 57 | Do current grading or drainage requirements allow for temporary ponding of stormwater on front yards or rooftops? (2 pts.)
| 58 | Is temporary storage of rainwater in storage tanks (e.g., rain barrels or cisterns) permitted?
| 59 | Do the stormwater BMP design specifications for green roofs address structural concerns (e.g. how to determine design load of roof)?
| 60 | Do local plumbing codes allow harvested rainwater for exterior uses such as irrigation and non-potable interior uses such as toilet flushing?
Buffer Systems
| 61 | Do the development standards in the community require a vegetated buffer along waterways?
| 62 | Is the definition of waterway, or the regulated buffer, expansive enough to include (check all that apply):
Perennial streams (0.5 pts.)
Ephemeral and intermittent streams (0.5 pts.)
Lakes (0.5 pts.)
Estuaries and shorelines (0.5 pts.)
Wetlands (0.5 pts.)
Vernal Ponds (0.5 pts.)
| 63 | Is the minimum buffer width 50 feet or more?
Yes, width is 100 feet or greater (2 pts.)
Yes, width is between 50-99 feet (1 pt.)
No, width is < 50 feet
| 64 | Are buffer widths greater for sensitive resources (e.g., designated high quality streams) or in certain zones (e.g., drinking water protection)?
| 65 | Is expansion of the buffer to include adjacent wetlands, steep slopes, or the 100-year floodplain required?
Buffer Management
| 66 | Does the buffer ordinance specify that a minimum percentage of the buffer be maintained with native vegetation? (2 pts.)
| 67 | Does the buffer ordinance outline prohibited uses and permitted uses that have little impact to the vegetated buffer?
| 68 | Does the ordinance specify enforcement mechanisms?
| 69 | Does the buffer ordinance specify a preference for buffers to be located on a parcel of common ownership (e.g., a homeowners’ association)?
Clearing and Grading
| 70 | Is there any ordinance that requires the preservation of native soils, hydric soils, natural vegetation, or steep slopes at development sites? (2 pts.)
| 71 | Do regulations limit the total portion of the site that can be cleared?
| 72 | Are the limits of disturbance required to be shown on construction plans and physically marked at the site?
| 73 | Are reserve septic field areas allowed to be left undisturbed until needed?
Tree Conservation
| 74 | Is a natural resources inventory required to identify and map natural areas?
Yes, and significant natural areas such as high quality forest stands, wildlife habitat and travel corridors, productive cropland, and specimen trees must be identified (2 pts.)
Yes, but no requirements to assess resource quality. (1 pt.)
| 75 | Is there an ordinance that requires conservation of some portion of forests, specimen trees, or other native vegetation at development sites?
Yes, specific conservation thresholds are identified (2 pts.)
Answer Yes, no specific conservation thresholds identified (1 pt.)
| 76 | Do tree conservation requirements identify or reference methods for delineating and protecting the critical root zone of trees (sometimes referred to as “drip line”)?
| 77 | Do forest/tree conservation requirements specify planting new trees at sites where none exist?
| 78 | Are trees and native plant materials permissible for landscaping in yards, common areas, and other open spaces?
Yes, some portion of landscaping must be include trees and other native vegetation provided in recommended species list. (2 pts.)
Yes, trees and native vegetation are allowed per recommended species list (1 pt.)
No, landscaping ordinance requires turfgrass or includes vegetation height standards that preclude use of native plants
| 79 | Does the community have an urban forestry plan that supports/is referenced by the landscaping ordinance?
| 80 | Do landscaping requirements identify or reference specifications for soil amendments, planting methods, species selection, and maintenance?
Land Conservation Incentives
| 81 | Are there any incentives to developers (e.g., open space design, density bonuses, stormwater credits, or expedited design review) to conserve land above and beyond what is already required (e.g., steep slopes, wetlands)? (2 pts.)
| 82 | Is flexibility to meet land conservation requirements (e.g. density compensation, buffer or lot averaging, transferable development rights, off-site mitigation) offered to developers? (2 pts.)
Stormwater Outfalls
| 83 | Does the stormwater code contain special treatment criteria for discharges to impaired or sensitive waters, such as natural wetlands, lakes, trout streams, nutrient-sensitive estuaries, drinking water supplies, etc.? (2 pts.)
| 84 | Does a floodplain management ordinance exist that restricts or prohibits development within the 100-year floodplain? (2 pts.)
| 85 | Is there a local wetland protection ordinance?
Stormwater Codes
| 86 | Do codes define rainwater harvesting and establish acceptable uses for rainwater (e.g., irrigation and toilet flushing) and corresponding treatment requirements?
| 87 | Does the stormwater code include specific standards to reduce post-construction runoff volume (not just peak rate)?
Yes, runoff/volume reduction is required for most new development and redevelopment sites (2 pts.)
Yes, the standards apply to some sites or are included as an alternative compliance method (1 pt.)
| 88 | Does the code require or have incentives for consideration of runoff reduction concepts early in the site planning process?
Yes, there are provisions for a pre-application meeting or similar (2 pts.)
Yes, but the meetings are not mandatory for applicants (1 pt.)
| 89 | If the code includes post-construction runoff reduction standards, is there reference to clear, understandable, and local or regionally-based design guidance or stormwater manual?
Yes, the code references design guidance or a manual (2 pts.)
Yes, such a manual exists but it is not referenced in the code (1 pt.)
| 90 | Are drainage and stormwater treatment standards all in one place within the code and internally consistent?
Yes, codes are consolidated and consistent regarding applicability and methods
No, various code sections are conflicting or inconsistent
Installation and Maintenance of Practices
| 91 | Do erosion and sediment control standards specify protection of post-construction practice sites during active construction?
Yes, erosion control standards include these provisions (2 pts.)
Yes, the code is not explicit but it is addressed during plan review (1 pt.)
| 92 | Does the code mandate performance bonds and periodic inspections to ensure proper installation of stormwater practices based on the approved plans?
Yes, the code includes bonding requirements and inspections during stormwater practice installation (2 pts.)
Yes, the code includes bonding or inspections, but not both (1 pt.)
| 93 | Does the code include provisions for runoff reduction practice easements, inspector right-of-entry, maintenance agreements, and post-construction inspections?
Yes, all the provisions are included (2 pts.)
Yes, 3 out of the 4 are included (1 pt.)
Off-Site Compliance
| 94 | If off-site stormwater compliance is authorized, is some percentage of treatment required on-site?
Yes, applicants must provide on-site treatment to some level and provide documentation (2 pts.)
No, many sites have automatic access to off-site compliance
|  | Total Points Achieved | 0
|  | Total Possible Points | 111
|  | Final Score (%) | 0%